4pm, Monday 30th June 2025, St John’s College

| MINUTES |  |  |  |
| --- | --- | --- | --- |
| Welcome and Apologies: Attendance: Ms Abigail Lloyd (Chair), The Venerable David Tyler, Mr Jon Avent, Dr Martin Bridge, The Revd Canon Chris Bull, Dr Louise Durning, Mr Alan Frost, The Revd Canon Dr Peter Groves, The Revd Deiniol Heywood, Mr Mike Holmes, The Revd Professor Diarmaid Macculloch, Mr Bryan Martin, Mrs Hannah Mann, Dr Dan Miles, Mrs Freya Morris, Mr Julian Munby, Mr Peter Preston, Mr John Pritchard, Ms Charlotte Robinson, Mrs Sarah Tattersall, Mr Andy Thearle, Mr Alex Wenham, The Revd Canon Prof William Whyte, Dr Lizzie Wooley, Mr Nick Wright Observers: His Honor Judge David Hodge KC, Mrs Annabel Graham-Paul, Catherine Armstrong Staff: Ms Liz Kitch, Ms Jennie Schillig, Mrs Hannah Robertson, Mr Oliver Mitchell, Mrs Emily Jackson, Ms Evie Foley, Mrs Debbie Perry Apologies received: Mr Richard Codd, Ms Rachel Fletcher, Mrs Geraldine O’Farrell, Mr Barry Williams, Mr John Radice, Mr Rupert Griffin, Ms Sarah Brown, Mr Philip Wharton, The Revd Canon Val Plumb, The Venerable Jonathan Chaffey, The Revd Preb Jane Haslam, Ms Esther Robinson Wild, Ms Joyce Christie, The Revd Katie Tupling, Mr Lynn Mathias, The Ven Stephen Pullen, The Ven Guy Elsmore, Dr Nicola Coldstream, Mr James Mackintosh, Mr Mark Humphriss |  |  |  |
| 1 | Minutes of meeting held on 12 May 2025 were approved | Chair | Attached |
| 2 | Declarations of interest Peter Preston - Britwell Salome and East Claydon Alan Frost – East Claydon | Chair |  |
| 3 | Correspondence, policy and other matters for consideration |  |  |
|  | Report on the outcomes of the MR&I grants | OM | Attached |
|  | Summary of the Net Zero awards in the diocese | HM | Pg 2 |
|  | Summary of the team’s activity since last meeting | LK | Pg 2 |
|  | Report on casework over the last 12 months | LK | Pg 2 |
| 4 | Applications submitted to DAC since the last agenda | Chair | Pg 2 |
| 5 | Casework – For discussion |  |  |
|  | Britwell Salome St Nicholas – Replacement heating and lighting | JS | Pg 3 |
|  | Henley Holy Trinity – internal reordering | EJ | Pg 5 |
|  | Beaconsfield St Mary and All Saints – organ project | JS | Pg 6 |
|  | Stony Stratford SS Mary and Giles – access improvements | EJ | Pg 8 |
| 6 | Casework – For ratification of officer recommendation |  |  |
|  | Banbury St Mary – kitchen servery | OM | Pg 9 |
|  | Marcham All Saints – East end reordering | EJ | Pg 9 |
|  | Great Haseley St Peter – pipe organ | OM | Pg 10 |
|  | Additional items |  |  |
|  | East Claydon St Mary – tower repairs | JS | By email |
|  | Bray St Michael – lighting proposals | OM | Pg 11 |
|  | Sunningdale Holy Trinity – replacement chair | JS | Verbal report |
| 7 | Pre – application and technical site visits to note | Chair | Pg 12 |
| 8 | List Bs and NOAs issued under subcommittee and delegated authority since last meeting | Chair | Pg 13 |
| 9 | Completed project feedback |  | Pg 17 |
|  | Sibford Holy Trinity – under pew heating | OM |  |
|  | Marcham All Saints – west end reordering | EJ |  |

| Dates of future meetings: | - Monday 8th September 2025 Church House Oxford - Monday 10th November 2025 Christ Church, Research Centre - Monday 19th January 2026 TBA |
| --- | --- |

| 3 | Correspondence, policy and other matters for consideration |
| --- | --- |

Report on the outcomes of the MR&I grants

The Diocese of Oxford secured £177,750 for churches in Berkshire, Buckinghamshire, and Oxfordshire. The establishment of the Minor Repairs & Improvements Fund.  After two rounds of applications, 42 applications had been received of which 29 met all of the eligibility criteria.  The main reason for applications failing to meet the eligibility criteria was overall project cost.  A number of parishes submitted applications for grants towards projects which far exceeded the total project cost of £10,000 or £20,000 (depending on the time at which the application was made).  A panel was convened to determine applications, consisting of Mark Humphriss (Diocesan Secretary), Janet Rogers (Head of Grants, Projects, and Governance), and Liz Kitch (Head of Church Buildings). A system for logging, validating, and processing applications was established within the Church Buildings Team.

Of the 29 eligible applications received, 25 were awarded grants ranging from 40% to 90% of the total project cost with total project costs varying from £1,984 to £19,750.  The total value of the work supported was £285,000.  In addition, the panel also agreed to allocate £30,000 towards two strategic projects (St Lawrence, West Wycombe and St Olave, Fritwell) where it was felt that Minor Repairs & Improvements Fund support would make a critical difference to the condition of two important buildings.  These projects are receiving direct support on an ongoing basis from members of the Church Buildings Team.

Summary of the Net Zero achievements and awards in the diocese

Hannah Mann, Environment Programme Manager, gave a verbal update on the work being done across the diocese in churches to reach the Net Zero goal.  The diocese has been allocated £376K from national church towards six Net Zero programmes.  Three of these are locally administered – Net Zero ‘Project Ready’ funding, Energy Efficiency ‘Quick Wins’ and Net Zero Starter Grant.  Three of these are nationally administered – National Net Zero ‘Demonstrator’ projects, Boiler Hardship Fund, National Parish Buying energy audits.  Two of these programmes are for capital works, the Boiler Hardship Fund and the Quick Wins Fund, while the rest are for preparatory works towards achieving net zero.  Nationally, £40million has been allocated toward reducing the carbon impact of the highest emitters with much more of the funding being towards capital works.

Summary of team’s activity since May meeting

- The team designed the next big board game to hit the market, ‘Race to faculty!’ as an activity for the All Staff Away day on the 10th June. Members and Advisors will be able to try their luck at the faculty process during the drinks reception on the 30th June.

- The Chancellor, Archdeacons, Church Buildings Team and Diocesan Registry gathered for their twice yearly discussion of all matters which relate to church buildings. The meeting was well attended and some interesting discussion about best to support parishes with detailing on large schemes was focused upon.

- Emily Jackson and Hannah Robertson have been organising a training day for parishes to share best practice in managing, cleaning, and maintaining church buildings. The day will take place on the 7th July at St Mary, Thame, nearly 40 people are signed up so far.

- The online ‘Ask us Anything’ sessions where parishes can join members of the church buildings team for advice on anything church building and churchyard related have been well received and will be continued.

- Jennie Schillig and Liz Kitch arranged and attended a meeting with the National Lottery Heritage Fund Engagement Manager, Judith Carruthers and the community group looking to take on responsibility for West Wycombe St Lawrence’s, to learn about how a bid to the fund could help build organisational resilience in preparation for registering for Charitable Incorporated Organisation status and a legal agreement being put in place between the group and the PCC, transferring the maintenance responsibilities for the church under a festival church model.

- Phillip Wharton kindly hosted the church buildings team at his home for a team day out, a very informative day learning about how pipe organs work, and the type of issues which need to be considered when reviewing proposals.

- Sophie Hammond is now on sabbatical from 22nd May – 4th August but will be joining us for the dinner.

Report on casework over the last 12 months

Liz Kitch, Head of Church Buildings, gave a verbal summary of the applications and enquiries received by the team in the last year, reflecting on current trends.

Of the 1568 applications and enquiries received in the past 12 months, which represents a 7% increase on the previous 12 months, the DAC Committee discussed 22 reordering proposals and 5 extensions, 130 heating applications were reviewed, and 365 applications for repair and conservation.

| 4 | Applications submitted/resubmitted to DAC since the last agenda |
| --- | --- |

|  | List B (DAC) | List B (Arch) | Faculty DA | Faculty Minor | Faculty Major | Interim/ PP/ Variation | Early stage Enquiry | Resolving Provisos | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr 25 | 44 | 8 | 10 | 25 | 11 | 3 | 79 | 1 | 181 |
| May 25 | 38 | 11 | 11 | 37 | 16 | 8 | 60 | 3 | 184 |

|  | Quinquennial Inspection Reports reviewed by Church Buildings Officers |
| --- | --- |
| Apr 25 | 2 |
| May 25 | 0 |

| 5 | Casework – For Discussion |
| --- | --- |

| BRITWELL SALOME: St Nicholas |  |  |  |
| --- | --- | --- | --- |
| Application Ref 2025-110647 | Archdeaconry: Dorchester | Listing: Grade II | JS |
| Proposals: | Removal and replacement of failed nave ceiling, redecoration throughout and re-wiring to include new heating, lighting and small power. |  |  |
| Project architect: | Peter Preston, Wollaston Rose |  |  |
| Statutory consultees: | Victorian Society, LPA, Historic England |  |  |
| Site visit attendees: | None |  |  |
| Subcommittee: | Mr John Pritchard, Ms Geraldine O’Farrell, Mr Byan Martin |  |  |
| Date of visit: | None |  |  |
| Previous minute: May 2025 |  |  |  |
| While the DAC did not dismiss the proposal to install Halo chandeliers with lights, the committee’s preference would be for either under pew heaters and/or overhead wall mounted far infrared heaters as shown in Concept 2 provided by the parish. The committee felt that these options would be less intrusive, have less impact on the internal character and appearance of the church and would also be less expensive. Unidirectional heat, such as from above only, can be less comfortable than heat coming from more than one direction. It is for this reason that the committee urges parishes not to aim for a single, one size fits all, solution to their heating needs. It may be that a combined solutions such as under pew augmented with overhead far infrared may provide a more comfortable solution. The parish were also encouraged to check that their current electrical supply is sufficient for the preferred option. In order for the DAC to make an in-principle recommendation, the following additional information was requested: - An options appraisal explaining the options which were considered and the reasons why the parish have chosen the preferred option. This should be based on technical performance as well as aesthetic preference. Details of the current heaters and an assessment as to whether they are effective should be provided. - Information about the comparative costs of the options. A short statement describing the significance of anything which might be affected by this type of heat should be included within the options appraisal. |  |  |  |
| June 2025 Minute |  |  |  |
| The DAC considered that removing the plain inserted ceiling and revealing the Victorian scissor trusses above will significantly change the internal appearance of the church, raising the height of the nave and making it appear less plain and austere. These proposals were not considered contentious, and the DAC were content to recommend this portion of the application. Against the background of the new ceiling, it was considered that the Halo chandeliers are likely to appear less dominant than they would against the lower plain ceiling. The illumination will be provided predominantly by a designed lighting scheme and will not rely on the light provided by the chandeliers. The DAC would still prefer to see the installation of wall panels over the chandeliers but resolved that a Not Object NOA should be issued Halo chandeliers. The committee expressed a strong preference for omitting the lights on the chandeliers. Pending positive responses from the consultees, a Not Object NOA will be issued subject to the following provisos: - As the lights on the chandeliers will not contribute to the overall light levels in the nave, the DAC would prefer to see them omitted. It is for this reason that a not object NOA has been issued. - Due to the high operating temperatures of the units, the PCC should satisfy themselves that the Herschel Aspect heaters can be installed safely in the chancel in accordance with the installation guidance from the manufacturer. - All electrical works to be carried out in accordance with the diocesan electrical guidelines. - The proposed works may create dust, the pipe organ should be suitably protected – by being sheeted by specialist organ builders/tuners. Failure to ensure this is done properly can easily lead to a very large bill later as serious damage can be caused to pipework and action by the ingress of dust and grit. - All fixings are to be non-ferrous and made into plain plaster/timber or masonry joints. - Cable routes are to be agreed with the project architect. - The parish should notify their insurers of the intention to carry out the works. |  |  |  |

| HENLEY: Holy Trinity |  |  |  |
| --- | --- | --- | --- |
| Application Ref 2024-100364 | Archdeaconry: Dorchester | Listing: Grade II | EJ |
| Proposals: | Reordering including provision of new breakout spaces and facilities |  |  |
| Project architect: | Henry Sanders |  |  |
| Statutory consultees: | The Victorian Society, LPA, CBC, C20th Soc (Consultation in progress) |  |  |
| Site visit attendees: | Mrs Emily Jackson (CBO), Ms Jennie Schillig (SCBO), The Ven David Tyler, Mr John Pritchard, Mr John Radice, Mr Philip Wharton |  |  |
| Additional Subcommittee: | Ms Charlotte Robinson, Ms Geraldine O’Farrell |  |  |
| Date of visit: | 9th July 2024 |  |  |
| Previous minute: September 2024 |  |  |  |
| The DAC discussed the proposals and agreed that these are ambitious plans. The DAC agreed to ratify the report with amendments included to acknowledge the revised options appraisal and to reinforce the importance of the long view towards the Chancel. The sub-committee are to agree the amendments to the final report before issue to the parish. |  |  |  |
| June 2025 Minute: |  |  |  |
| The DAC heard that the parish have worked hard to take the feedback given following the DAC meeting in September 2024 on board. They have reconsidered the proposals and returned to the DAC with a scheme which represents a large step in the right direction compared to the schemes in the options appraisal. The DAC supported the proposed layout subject to the provision of further design details as outlined below. It was discussed that the heating and lighting solutions are not yet fully defined. It was agreed that if the parish elects to provide solar panels, this will come to the DAC for discussion as a separate application. Detailed design will include, but not be limited to, agreement of the following. - Details for proposed insertion of a first floor to the baptistry / creche area. - Design of the new kitchen space (including alternatives to the currently proposed roller shutter and junction with north transept window). - Details of all fixtures and fittings and where they are proposed to be relocated or how they will be disposed of (including the altar and chancel pews). - Design of all new partitions including the new west end internal timber and glass screen. - Confirmation of whether there will be second floor storage above the new west end rooms. - Details of all internal finishes (including new screens and flooring). - Design of heating and lighting systems - Details of proposed new chairs. - Details of external proposals including finishes. The draft feedback, to be sent by email, was ratified. The CBO is to include a comment which highlights the potential cost and maintenance liability of a large lighting gantry. The DAC agreed that whilst there are still significant details, as outlined above, to be resolved these can now be delegated to the sub-committee for development of the detailed design before the eventual issue of a supportive NOA. Should there be any significant design changes, the scheme should be brought back to the DAC. |  |  |  |

| BEACONSFIELD: St Mary and All Saints |  |  |  |
| --- | --- | --- | --- |
| Application Ref 2022-077888 | Archdeaconry: Buckingham | Listing: Grade II* | JS |
| Proposals: | Refurbishment and enhancement of the existing pipe organ to include new division at the east end of the church |  |  |
| Project architect: | None; Paul Hale, Independent Organ Adviser |  |  |
| Statutory consultees: | CBC, Vic Soc, SPAB, LPA |  |  |
| Subcommittee: | Mr Barry Williams, Mr Philip Wharton, The Revd Roy Woodhams, Mr John Pritchard |  |  |
| Site visit attendees: | Mr Barry Williams, Ms Jennie Schillig, The Ven Guy Elsmore |  |  |
| Date of visit: | 22 May 2022 |  |  |
| Site visit attendees: | Mr Barry Williams, Mr Philip Wharton, The Revd Roy Woodhams, Ms Jennie Schillig, The Revd Chris Bull |  |  |
| Dates of visit: | 12 July 2023 |  |  |
| Previous minute: November 2022 |  |  |  |
| The DAC recommended that the parish be asked again to reconsider their proposals in the light of the comments from the DAC organ advisers, the CBC and BIOS. The application should be deferred to allow time for a visit by the CBC. Should the parish wish to continue without revising the proposals, the DAC resolved to issue a not recommend NOA for the proposals to create a hybrid instrument. |  |  |  |
| June 2025 Minute: |  |  |  |
| Proposals for refurbishment and enhancement of the west end organ with the addition of a division at the east end of the north aisle have been under discussion with the Church Buildings Team since January 2022. Considerable time has been spent on this project by the Diocesan Organ Advisers and SCBO both in visiting and correspondence with the parish. The aim has been to help the parish to develop realistic aspirations for the organ project and arrive at a solution which will satisfy their needs and be appropriate for the building. There have been several revisions to the proposals in the intervening years. The current proposals are for refurbishing the western organ to provide an instrument with 30 stops including digital basses. The proposal includes removal of the western console to allow more space for reconfiguring the pipes and provide better access for maintenance. An eastern division is proposed for the north chancel aisle chapel. This division would have 22 stops, a few of which would be digital. A mobile, three manual console would be provided which would play both the east and west organs. The CBC and the DAC’s organ advisers still consider the proposed organ too large for its intended purpose of accompanying the choir. There is historic precedent for an organ in the north chapel, therefore, putting an organ back there is not considered contentious, the primary outstanding issues being the size of the proposed eastern organ and the impact of the works to the western organ on the Hill pipes. The application states that the new eastern division will be phase 1 with the restoration of the west organ delegated to phase 2. The DAC resolved to issue a Not Object NOA subject to formal consultation with the statutory consultees with resolution of details delegated to the subcommittee. DAC architect and structural engineer members will be added to the subcommittee. Following the meeting, the SCBO spoke with David Knight, Deputy Director for Church Buildings at the CBC, who expressed concern about issuing an NOA prior to the following details being received and agreed: - Detail drawings to show the proposed layout of the pipes in the western organ case as well as the proposed changes to the external appearance of the case once the console is removed. These should be compared against a photograph of the existing case. - Accurate and detailed drawings of the external appearance and internal pipe layout of the proposed eastern organ. In addition, further technical details are required regarding the impact of the proposals on the interior of the church: - Documentary evidence indicates that there may be a vault(s) under the floor onto which the proposed oak support posts for the organ will impose a point load. The parish should obtain confirmation from a structural engineer that the support posts will rest on solid foundations. - A plan to be provided showing the locations of the ledger stones in the north chapel floor. A record of their inscriptions should be made to display should they be covered by the new organ. When the NOA is issued, a proviso will be included requiring that phase 2 proceeds within a set period of time. |  |  |  |

| STONY STRATFORD: St Mary and St Giles |  |  |  |
| --- | --- | --- | --- |
| Application Ref 2025-110928 | Archdeaconry: Buckingham | Listing: Grade II* | EJ |
| Proposals: | Access Improvements (Greater Access Project) |  |  |
| Project architect: | Camilla Finlay, Clews |  |  |
| Statutory consultees: | SPAB, HBAP, Georgian Group, Vic Soc, C20 Soc, HE, CBC, LPA |  |  |
| Site visit attendees: | Ms Emily Jackson, Mrs Sarah Tattersall, The Revd Deiniol Heywood |  |  |
| Subcommittee: | Mr Bryan Martin, Ms Esther Robinson-Wild, Ms Freya Morris, Mrs Sarah Tattersall, The Revd Deiniol Heywood, The Revd Katie Tupling |  |  |
| Date of visit: | 24th April 2024 |  |  |
| June 2025 Minute: |  |  |  |
| The DAC heard that the church of Stony Stratford has seen many phases of structural change and that all amenity societies are likely to need to be consulted as part of this application. The DAC discussed the proposals and agreed that the DAC should encourage the parish to take forward proposals based around options 1 or 2 which involve the provision of a new part M compliant external ramp to the northwest door. This will require the existing kitchen to be removed to form a lobby. The parish should explore further the option of adding a small servery elsewhere in the church. This approach will likely be more economically viable and will negate the need to make significant changes to the floor of the nave and tower. The DAC resolved to ratify the site visit report. The application will return to the DAC when the parish have developed a final proposal. |  |  |  |

| 6 | Casework – For Ratification |
| --- | --- |

| BANBURY: St Mary |  |  |  |
| --- | --- | --- | --- |
| Application Ref: 2024-094661 | Archdeaconry: Dorchester | Listing: Grade I | OM |
| Proposals: | Replacement of existing servery with café/kitchen |  |  |
| Project architect: | Heather Clews (as PCC) |  |  |
| Statutory consultees: | None |  |  |
| Site visit attendees: | Dr Louise Durning, Mr Bryan Martin, Mr Julian Munby |  |  |
| Subcommittee: | Dr Louise Durning, Mr Bryan Martin, Mr Julian Munby |  |  |
| Date of visit: | 15 May 2025 |  |  |
| Previous minute: |  |  |  |
| None |  |  |  |
| June 2025 minute: |  |  |  |
| The proposals relate to the redevelopment of the servery in the south-west corner of the nave to accommodate the church’s busy calendar of events and community uses. The PCC has proposed a Howdens kitchen in one of two finishes (oak effect or ‘Halesworth Duck Blue’). The site visit delegation felt that the significance of the church as a building of special architectural or historic interest would not be affected by the proposals, but raised questions about the durability of the chosen materials and finishes and about the number and design of the café-style seats and tables to be introduced. The DAC ratified the CBO’s recommendation to recommend the works to the Chancellor for approval subject to the satisfactory resolution of the outstanding issues by a subcommittee. |  |  |  |

| MARCHAM: All Saints |  |  |  |
| --- | --- | --- | --- |
| Application Ref 2025-114407 | Archdeaconry: Dorchester | Listing: Grade II* | EJ |
| Proposals: | East end alterations to existing enclosures, reduction of dais. Relocation of font and consideration of liturgical furniture. |  |  |
| Project architect: | Christian Randall |  |  |
| Statutory consultees: | Historic England, Vic Soc, Georgian Soc, SPAB, HBAP, CBC, LPA, (not yet consulted) |  |  |
| Site visit attendees: | Ms Emily Jackson, The Revd Prebendary Jane Haslam, The Revd Professor Diarmaid MacCulloch, Ms Charlotte Robinson. |  |  |
| Subcommittee: | The Revd Prebendary Jane Haslam, The Revd Professor Diarmaid MacCulloch, Ms Charlotte Robinson, Mr Julian Munby (Attended 2023 visit), Revd Katie Tupling (visited in 2023). |  |  |
| Date of visit: | 15th May 2025 |  |  |
| Previous minute: March 2023 |  |  |  |
| The DAC resolved to ratify the draft site visit report, supporting the principle of both phases of work (subject to detailing) and delegated phase one to a subcommittee for progression. |  |  |  |
| June 2025 Minute: |  |  |  |
| The DAC heard that the parish have been working for quite some time to improve the space within the church and that reordering works have been completed at the west end in the last few months. The parish now wish to progress with the east end reordering. Whilst their ideas have been refined a little, the parish are still looking at options and they now need to determine what exactly it is that they want to do. This case was returning to the DAC due to the time elapsed since it was last discussed and the necessary change of sub-committee. The DAC resolved to ratify the site visit report which supports the principle of the work subject to the inclusion of an additional sentence regarding the DAC’s view towards the relocation of the font to the front of the dais and inclusion of a link to the December 2024 Almeley judgement. The report recommends that the parish submit a revised set of proposals which provide a ramp and level east end access and a clear plan for the furnishings. It is expected that the scheme will return to the DAC again once the parish has developed final designs and further developed their statements of need and significance. It is hoped that at this point the scheme will also be sufficiently developed to commence consultation with the statutory consultees. |  |  |  |

| GREAT HASELEY: St Peter |  |  |  |
| --- | --- | --- | --- |
| Application Ref: 2025-111145 | Archdeaconry: Dorchester | Listing: Grade I | OM |
| Proposals: | Introduction of a pipe organ |  |  |
| Project architect: | N/A |  |  |
| Statutory consultees: | None |  |  |
| Site visit attendees: | Dr Nicola Coldstream, The Revd Professor Diarmaid MacCulloch |  |  |
| Subcommittee: | Dr Nicola Coldstream, The Revd Professor Diarmaid MacCulloch, Mr Barry Williams |  |  |
| Date of visit: | 27 May 2025 |  |  |
| Previous minute: |  |  |  |
| None |  |  |  |
| June 2025 minute: |  |  |  |
| The proposals relate to the introduction of a pipe organ that has been removed from the Church of St Andrew, Ferring, in the Diocese of Chichester. The stack and console are to be placed in the north aisle, necessitating the removal of a pew (to be shortened and placed at the west end of the north aisle) and re-siting of a pew frontal with associated works to make good the floor where the pew platform is shortened. The freestanding pulpit will also be re-sited within the church to avoid the area around the north aisle becoming unnavigable. The existing electric organ and piano are to be disposed of. The subcommittee felt that the benefits of the proposals outweighed the harm caused by the minor loss of the historic fabric. The DAC ratified the CBO’s recommendation to recommend the works to the Chancellor for approval subject to the resolution of outstanding details by a subcommittee. |  |  |  |

Additional items

| EAST CLAYDON: St Mary |  |  |  |
| --- | --- | --- | --- |
| Application Ref: Offline | Archdeaconry: Buckingham | Listing: Grade II* | JS |
| Proposals: | Repairs and recovering of the tower roof, replacement rainwater goods, glazing repairs and stone repairs and repointing. |  |  |
| Project architect: | Peter Preston, Wollaston Rose |  |  |
| Statutory consultees: | Historic England, SPAB, Victorian Society, LPA |  |  |
| Subcommittee: | Bryan Martin, Alex Wenham |  |  |
| June 2025 minute: |  |  |  |
| A faculty was granted in January 2024 (2023-083354) for repairs to the roof and masonry of the west tower. The masonry repairs were precipitated by numerous incidents of stone fragments becoming airborne in windy conditions. When scaffold was erected, it was found that the stonework was in much worse condition than anticipated with some stones eroded 150 mm back from the original ashlar face. Having considered various options, the parish asked for the DAC’s initial thoughts on proposals to replace structural stones and weatherings and render the flat ashlar panels. While the DAC considered this a potentially acceptable solution, they had concerns about the practicality of applying render to highly decayed stones. The render could end up being very thick in places which would add weight to the tower structure and create a health and safety risk if it failed. The DAC encouraged the parish to obtain interim faculty consent for carrying out investigations and trials to ascertain the best method for repair. These should include an assessment of the structural stability of the stonework by a structural engineer and trial defrassing and rendering/shelter coating of an area to inform methodology. In the meantime, the base of the tower should be roped off to reduce the risk of injury from falling masonry. |  |  |  |

| BRAY: St Michael |  |  |  |
| --- | --- | --- | --- |
| Application Ref: 2025-114097 | Archdeaconry: Berkshire | Listing: Grade II* | OM |
| Proposals: | New pendant lighting scheme |  |  |
| Project architect: | None |  |  |
| Statutory consultees: |  |  |  |
| Subcommittee: | Geraldine O’Farrell, Bryan Martin, Peter Preston |  |  |
| June 2025 minute: |  |  |  |
| The proposals relate to the renewal of the interior lighting, with the existing floodlights to be replaced with a number of spotlights and pendant lamps. During informal consultation, the subcommittee raised concerns about the design of the pendants and their shades. The CBO asked the DAC to consider whether these stylistic choices were grounds to not recommend the proposals for approval. The DAC advised that, should certain elements of the design – namely the shape of the glass shades and the stems attaching these to the pierced ring - be improved to the satisfaction of the subcommittee, a Notification of Advice ‘not objecting’ to the proposals could be issued. |  |  |  |

| SUNNINGDALE: Holy Trinity |  |  |  |
| --- | --- | --- | --- |
| Application Ref: 2023-081959 | Archdeaconry: Berkshire | Listing: Grade II | JS |
| Proposals: | Reordering of the interior to create meeting rooms, office, servery, cafe area with retractable screen, WCs and storage; overhaul of heating and lighting |  |  |
| Project architect: | Mark Goodwill-Hodgson |  |  |
| Statutory consultees: | Historic England, Victorian Society, Church Buildings Council |  |  |
| Subcommittee: | Geraldine O’Farrell, Peter Preston, John Pritchard |  |  |
| June 2025 minute: |  |  |  |
| The parish put forward seating proposals for discussion as part of the larger reordering project, Transforming Trinity. A total of 220 chairs will be required following the removal of the pews. The parish propose to place roughly 80 classic wooden chairs with a padded seat and a molded back, such as the ICS Christ Church chair, in the nave. These chairs would rarely if ever be completely cleared and would be used for seating in the aisles should the nave be cleared for events. The remaining 140 chairs, for us in the café, would be a lightweight wooden stacking chair such as the Howe 40/4. The DAC did not consider that it could recommend the current proposals for seating and commented that the parish would need to put forward a more compelling case before the committee would agree to deviate from national guidance. Provision of heavy, non-stackable seats with the intention of leaving them laid out in rows for the majority of the time would also work against the parish’s argument for complete pew removal. While the intention is to use the proposed heavier chair around tables in the aisle when the nave is clear, the committee commented that this type of heavy chair can become unwieldy in that kind of setting. The DAC acknowledged that while it is reasonable to consider having two types of chairs, both chairs should be unupholstered in accordance with national guidance. |  |  |  |

| 7 | Site visits undertaken (24.04.25 - 4.06.25 ) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Stony Stratford St Mary & St Giles |  | Application 2025-110928 - Online Faculty System | Disabled access | Mrs Emily Jackson Mr Bryan Martin Ms Esther Robinson-Wild Mrs Sarah Tattersall The Revd Deiniol Heywood | 24.04.25 |  |
| Sonning St Andrew |  | Offline | Asbestos removal | Mr Oliver Mitchell Mr Peter Preston Mr John Pritchard | 29.04.25 |  |
| East Claydon All Saints |  | Application 2023-083354 - Online Faculty System | Masonry repairs to tower | Ms Jennie Schillig | 02.05.25 |  |
| Garsington St Mary |  | Application 2025-115044 - Online Faculty System | Pews | Mr Oliver Mitchell | 07.05.25 |  |
| Banbury St Mary |  | Application 2024-094661 - Online Faculty System | Creation of café area | Mr Oliver Mitchell Mr Bryan Martin Dr Louise Durning Mr Julian Munby | 15.05.25 |  |
| Marcham All Saints |  | Application 2025-114407 - Online Faculty System | East End | Mrs Emily Jackson The Revd Preb Jane Haslam Ms Charlotte Robinson The Revd Prof Diarmaid Macculloch | 15.05.25 |  |
| Wolvercote St Peter |  | Application 2024-096896 - Online Faculty System | Solar panels | Mrs Emily Jackson Ms Liz Kitch The Revd Canon Dr Peter Groves Mrs Hannah Mann Ms Charlotte Robinson Mr Adrian Fox | 23.05.25 |  |
| Oxford St Aldate |  | Offline | Secondary glazing | Mr Oliver Mitchell | 23.05.25 |  |
| Great Haseley St Peter |  | Application 2025-111145 - Online Faculty System | Organ project | Mr Oliver Mitchell Dr Nicola Coldstream Mr Philip Wharton The Revd Prof Diarmaid Macculloch | 27.05.25 |  |
| West Challow St Laurence |  | Offline | Pre app visit for future works | Mr Oliver Mitchell | 28.05.25 |  |
| Hinton Waldrist St Margaret |  | Application 2021-066113 - Online Faculty System | Re-ordering | Mr Oliver Mitchell The Revd Preb Jane Haslam Ms Charlotte Robinson Mr Nick Wright Mr Julian Munby | 05.06.25 |  |
| Reading St Laurence |  | Offline | Discuss upcoming works | Mrs Emily Jackson Ms Evie Foley | 09.06.25 |  |
| Woodstock, St Mary Magdalene |  | Application 2024-104366 - Online Faculty System | Installation of solar panels – discharge of provisos | Ms Jennie Schillig | 09.06.25 |  |
| Coleshill All Saints |  | Offline | Re-ordering | Mrs Emily Jackson The Revd Preb Jane Haslam Mr John Pritchard Ms Esther Robison-Wild Dr Dan Miles | 12.06.25 |  |

| 8 | List Bs and NOAs issued under subcommittee and delegated authority since last meeting |
| --- | --- |

| Parish | Archdeaconry | Listing | Ref | App type | Case type | Works | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Stanford-in-the-Vale: St Denys | DORCHESTER | Grade I | 2024-100322 | Faculty - DA | Seating | Relocation or disposal of pews and replace with Howe chairs | NOA issued |
| Bracknell: Holy Trinity | BERKSHIRE | Grade II | 2024-102056 | Faculty - DA | Liturgical | Remove font cover which is suspended by a winch from the roof | NOA issued with provisos |
| Iffley: St Mary the Virgin | OXFORD | Grade I | 2025-109286 | Faculty - DA | Churchyard | Extension of area for interment of ashes | NOA issued |
| Sulham: St Nicholas | BERKSHIRE | Grade II | 2025-109478 | Faculty - DA | R&C | Regularising works to repair tower roof and pinnacle undertaken without consent | Registrar to issue faculty |
| St Edmunds Hall St Peter in the East | OXFORD | Grade I | 2025-110837 | Faculty - DA | Churchyard | Removal of self-sown conifer | NOA issued |
| Widford: St Oswald | DORCHESTER | Grade II* + SAM | 2025-111096 | Faculty - DA | R&C | Repair, restoration and cleaning of windows | Registrar to issue faculty |
| Cowley: St Mary & St John | OXFORD | Grade II | 2025-112894 | Faculty - DA | Development | Plaque acknowledging Windrush Generation | Faculty issued |
| Bierton: St James the Great | BUCKINGHAM | Grade I | 2025-114387 | Faculty - DA | Churchyard | Tree/shrub maintenance | Petition submitted to Dio Reg |
| Oxford: St Margaret | OXFORD | Grade II | 2023-091881 | Faculty - Major | Reordering | Reordering of west end to include provision of gallery | Petition submitted to Dio Reg |
| Reading: St John the Evangelist & St Stephen | BERKSHIRE | Ungraded | 2025-109502 | Faculty - Major | Heating | Decarbonisation works | Petition submitted to Dio Reg |
| St Edmunds Hall St Peter in the East | OXFORD | Grade I | 2024-107141 | Faculty - Major | Development | Redevelopment of garden office into cafe | NOA issued |
| Sandford-on-Thames: St Andrew | OXFORD | Grade II* | 2023-091798 | Faculty - Minor | Seating | Alterations to pews | NOA issued |
| Stewkley: St Michael & All Angels | BUCKINGHAM | Grade I | 2024-097528 | Faculty - Minor | R&C | Structural repair of the vestry and belfry | NOA issued with provisos |
| Grove: St John the Baptist | DORCHESTER | Ungraded | 2023-093065 | Faculty - Minor | Heating | Gas boiler replacement | NOA issued |
| Marsh Baldon: St Peter | DORCHESTER | Grade II* | 2024-096830 | Faculty - Minor | R&C | Repair of damaged C18 painting in North Aisle | Registrar to issue faculty |
| Turville: St Mary | BUCKINGHAM | Grade II* | 2024-100213 | Faculty - Minor | Disposal of items | Disposal of pews and pew frontal | Faculty issued |
| Bedgrove: Holy Spirit | BUCKINGHAM | Ungraded | 2024-102864 | Faculty - Minor | R&C | Alterations to nave ceiling, dias and glazing in the chancel | Petition submitted to Dio Reg |
| Thame: St Mary the Virgin | DORCHESTER | Grade I | 2024-103377 | Faculty - Minor | Churchyard | Installation of bicycle rack | NOA issued |
| Hook Norton: St Peter | DORCHESTER | Grade I | 2025-109897 | Faculty - Minor | M&E | To install two new electrical circuits - one with sockets for two existing heaters, one with 6 new power sockets. | Faculty issued |
| Abingdon: St Nicolas | DORCHESTER | Grade I | 2025-110679 | Faculty - Minor | R&C | Conservation and restoration of wall paintings in Blacknall Aisle | Faculty issued |
| Summertown: St Michael & All Angels | OXFORD | Grade II | 2025-108797 | Faculty - Minor | Disposal of items | Disposal of altar, funeral trestles and small altar rail | NOA issued |
| Towersey: St Catherine | DORCHESTER | Grade II | 2025-111578 | Faculty - Minor | OBC | Electronic organ replacement | List B issued |
| Cowley: St Alban | OXFORD | Ungraded | 2025-112007 | Faculty - Minor | Heating | Installation of radiant heaters | Registrar to issue faculty |
| Cowley: St Alban | OXFORD | Ungraded | 2025-112026 | Faculty - Minor | Heating | Installation of air source heat pump in the hall | Registrar to issue faculty |
| Binfield: All Saints | BERKSHIRE | Grade II* | 2024-100399 | Faculty - Minor | Churchyard | Repair to boundary wall - partially retrospective | NOA issued |
| Aylesbury: St Mary the Virgin MAJOR PARISH CHURCH | BUCKINGHAM | Grade I | 2025-112949 | Faculty - Minor | Churchyard | Replace rusted/hazardous lamp posts | Faculty issued |
| Amersham: St Mary the Virgin | BUCKINGHAM | Grade I | 2025-110998 | Faculty - Minor | M&E | Replacement of fossil fuel boiler | NOA issued |
| Burford: St John the Baptist | DORCHESTER | Grade I |  | Interim | R&C | Urgent repairs to collapsed underground drain | Interim faculty issued |
| Waltham: St Lawrence | BERKSHIRE | Grade II* | 2025-114580 | List B | Churchyard | Boundary wall repairs | List B issued |
| Filkins: St Peter | DORCHESTER | Grade II | 2025-110190 | List B | R&C | Replace floorboards in north aisle and vestry | List B issued |
| Wardington: St Mary Magdalene | DORCHESTER | Grade I | 2025-109622 | List B | R&C | Defrassing and repointing of south aisle wall | List B issued |
| Stewkley: St Michael & All Angels | BUCKINGHAM | Grade I | 2025-111554 | List B | OBC | Bell repairs | List B issued |
| Challow: St Nicholas | DORCHESTER | Grade II* | 2025-111127 | List B | R&C | Replacement of rotten and missing church tower louvres | List B issued |
| Towersey: St Catherine | DORCHESTER | Grade II | 2025-111853 | List B | Churchyard | Rebuilding a section of the North West boundary wall in accordance with the specification written by Anthony Mealing dated 14th August 2024. | List B issued |
| Wooburn: St Paul | BUCKINGHAM | Grade II* | 2025-111175 | List B | Churchyard | Rebuilding a section of the North West boundary wall in accordance with the specification written by Anthony Mealing dated 14th August 2024 | List B issued |
| Childrey: St Mary the Virgin | DORCHESTER | Grade I | 2025-111680 | List B | R&C | Repair to mullion in east window | List B issued |
| Cowley: St Alban | OXFORD | Ungraded | 2025-112206 | List B | R&C | Kitchenette refit and toilet redecoration | List B issued |
| Littlewick: St John the Evangelist | BERKSHIRE | Ungraded | 2025-112590 | List B | Churchyard | Replacement lychgates | List B issued |
| Olney: St Peter & St Paul | BUCKINGHAM | Grade I | 2025-112255 | List B | R&C | Stonework repairs to West door | List B issued |
| Olney: St Peter & St Paul | BUCKINGHAM | Grade I | 2025-111684 | List B | R&C | Stonework repairs to tower - Health and safety concern | List B issued |
| Cowley: St Mary & St John | OXFORD | Grade II | 2025-114213 | List B | Churchyard | Enquiry re churchyard wall repair | List B issued |
| Caversfield: St Laurence HAR | DORCHESTER | Grade II* | 2025-111699 | List B | R&C | Window repairs | List B issued |
| Dedworth: All Saints | BERKSHIRE | Ungraded | 2025-112806 | List B | R&C | Replace facia boards, guttering and downpipes | List B issued |
| Grendon Underwood: St Leonard | BUCKINGHAM | Grade II* | 2025-111803 | List B | R&C | Stonework Repairs | NOA issued with provisos |
| Cublington: St Nicholas | BUCKINGHAM | Grade II* | 2025-112888 | List B | Churchyard | Repair to churchyard wall | List B issued |
| Wroxton: All Saints | DORCHESTER | Grade II* | 2025-112408 | List B | R&C | Redecorating interior walls | Awaiting Archdeacon |
| Binfield: St Mark | BERKSHIRE | Grade II | 2025-114836 | List B | Churchyard | Erection of noticeboard | List B issued |
| North Marston: Assumption of the Blessed Virgin Mary | BUCKINGHAM | Grade I | 2025-111307 | List B | Churchyard | Refacing of two flagstones at church entrance | List B issued |
| Radnage: St Mary | BUCKINGHAM | Grade I | 2025-112773 | List B | R&C | Further repairs to east window | List B issued |
| Ivinghoe: St Mary the Virgin | BUCKINGHAM | Grade I | 2025-111720 | List B | AV | Installation of wifi | List B issued |
| Cropredy: St Mary the Virgin | DORCHESTER | Grade I | 2025-114092 | List B | R&C | window masonry, glazing and roofing | List B issued |
| Drayton: St Peter (Deddington) | DORCHESTER | Grade II* | 2025-112216 | List B | R&C | Repairs to ceiling and exterior wall of south porch | List B issued |
| West Wycombe: St Lawrence | BUCKINGHAM | Grade I | 2025-114182 | List B | R&C | Replace broken window | List B issued |
| Lambourn: St Michael & All Angels | BERKSHIRE | Grade I | 2025-114330 | List B | R&C | Painting of Chancel | List B issued |
| Aylesbury: St Mary the Virgin MAJOR PARISH CHURCH | BUCKINGHAM | Grade I | 2025-114607 | List B | Churchyard | Repairs to short section of wall and railings | List B issued |
| Witney: St Mary the Virgin MAJOR PARISH CHURCH | DORCHESTER | Grade I | 2025-109945 | List B - Archdeacon | R&C | Provide fixings for peal boards in ringing chamber. | List B issued |
| Grendon Underwood: St Leonard | BUCKINGHAM | Grade II* | 2025-112559 | List B - Archdeacon | Churchyard | Installation of bench | List B issued |
| Little Linford: St Leonard | BUCKINGHAM | Grade II* | 2025-112528 | List B - Archdeacon | Development | Installation of a key safe offertory box | List B issued |
| Appleton: St Laurence | DORCHESTER | Grade II* | 2025-112742 | List B - Archdeacon | Churchyard | Installation of bench | Awaiting Archdeacon |
| Sandhurst: St Michael & All Angels | BERKSHIRE | Grade II* | 2025-110779 | List B - Archdeacon | Churchyard | Memorial bench Michael Glavin | List B issued |
| Great Rollright: St Andrew | DORCHESTER | Grade I | 2025-114200 | List B - Archdeacon | Churchyard | Pruning of yew trees | List B issued |
| Great Horwood: St James | BUCKINGHAM | Grade II* | 2025-114299 | List B - Archdeacon | Development | New noticeboard in porch | List B issued |
| Stratton Audley: St Mary & St Edburga | DORCHESTER | Grade I | 2025-114188 | List B - Archdeacon | Churchyard | Memorial bench - Clarissa Brent Smith | List B issued |
| Finmere: St Michael | DORCHESTER | Grade II | 2025-114194 | List B - Archdeacon | Churchyard | Memorial bench (Cunningham) | List B issued |
| Easthampstead: St Michael & St Mary Magdalene | BERKSHIRE | Grade II | 2025-115035 | List B - Archdeacon | Churchyard | Installation of Commonwealth War Graves Commission Sign | List B issued |
| Weston-on-the-Green: St Mary | DORCHESTER | Grade II* | 2025-115037 | List B - Archdeacon | Churchyard | Installation of Commonwealth War Graves Commission Sign | List B issued |
| South Newington: St Peter ad Vincula | DORCHESTER | Grade I | 2025-115039 | List B - Archdeacon | Churchyard | Installation of Commonwealth War Graves Commission Sign | List B issued |
| Gerrard's Cross: St James | BUCKINGHAM | Grade II* | offline | List B - Archdeacon | H&S improvements | Fire alarm system | Awaiting Archdeacon |
| Garsington: St Mary | DORCHESTER | Grade II* | 2025-115044 | TRO | Seating | Temporary storage in barn of pews already removed from church | TRO issued |
| Little Linford: St Leonard | BUCKINGHAM | Grade II* |  | Variation | Churchyard | Variation (retrospective) re revised location for trench arch; queries re woodworm treatment and redecoration | Amended faculty issued |

| 9 | Completed Projects feedback |
| --- | --- |

Sibford, Holy Trinity – installation of under pew heaters

Marcham, All Saints – west end reordering